## Slide 1
Present market situation for RES-E in the EU-10
Inga Konstantinavičiūtė,
Lithuanian Energy Institute
Vilnius, November 13th 2006
Assessment and optimisation of renewable support schemes in the European electricity market

## Slide 2: Presentation outline
Current RES-E penetration in EU-10
Support mechanisms applied in EU-10
Market perception of support mechanisms
Main barriers for RES-E development in EU-10

## Slide 3: Background
EC White Paper “Energy for the future” set targets for renewable energy to contribute 12% of the total EU energy consumption by 2010
Directive 2001/77/EC on the promotion of electricity from RES in the internal electricity market set the target that 22% (21% at EU-25) of renewable electricity in comparison to the overall electricity consumption should be reached by 2010

## Slide 4: Promotion of RES-E through:
Quantified national targets for consumption of RES-E
National support schemes
Simplification of national administrative procedures for authorisation
Guaranteed access to transmission and distribution of RES-E

## Slide 5: National indicative targets of EU-10
 | RES-E 1997, % | RES-E 2010, %
Cyprus | 0.05 | 6.0
Czech Republic | 3.8 | 8.0
Estonia | 0.2 | 5.1
Hungary | 0.7 | 3.8
Latvia | 42.4 | 49.3
Lithuania | 3.3 | 7.0
Malta | 0.0 | 5.0
Poland | 1.6 | 7.5
Slovenia | 29.9 | 33.6
Slovakia | 17.9 | 31.0
Total EU-10 | 5.6 | 11.0

## Slide 6: Electricity generation from RES in EU-10

## Slide 7: Electricity generation from ‘new’ RES in EU-10

## Slide 8: Breakdown of electricity generation from RES (excl. large hydro) for 2004 by country

## Slide 9: Actual penetration of RES-E in 1997 and 2004 versus 2010 target

## Slide 10: Main support policies for RES-E in EU-10
The choice of instrument has not been harmonized in EU, so each country has adopted its own unique set of promotion instrument.

## Slide 11: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
The guaranteed price per unit of produced electricity to be paid to the producer
Widely used in most of new MS
The biggest advantage – the long-term certainty regarding income, which lowers investment risks considerably

## Slide 12: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Grant Scheme for promotion of RES (since 2004) financed through electricity consumption tax of 0.22 €ct/kWh.
A New Enhanced Grant Scheme (since 2006) provides financial incentives in the form of grants and feed-in tariffs.
Scheme was fixed only for 3 years period.
Grants – 30-55% of investments;
Tariffs with long term (15 years) contracts

## Slide 13: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Feed-in tariffs (since 2002)
New RES Act (since 2005) allows producers to choose between having a feed-in tariff or a ‘green bonus’. The ‘green bonus’ is paid on top of market price of electricity.
The tariffs was set only a year in advance. There was no guarantee or rule about what prices will be set for the following year.
The new tariff structure reduced uncertainty by providing the 15 year price guarantee.

## Slide 14: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Feed-in tariffs system with purchase obligation (since 2003)
RES-E is purchased for fixed price of 5.2 €ct/kWh (since 2005)
Prices were linked to the sales prices of two major oil-shale based power plants.
Price for wind energy is guaranteed for 12 years but all current support will be terminated in 2015.
No differentiation among technologies

## Slide 15: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Feed-in tariff (since 2003) combined with purchase obligation
Since 2005 a new regulation with technology specific feed-in tariffs has been adopted until green certificate system will be introduced
There wasn’t differentiation among technologies
The duration of feed-in tariff not defined by law.

## Slide 16: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
A double tariff system (until 2003)
Yearly quota system (since 2003) combined with feed-in tariffs
A tariff was double of the average electricity price
Restrictive quota levels are setting annually.
Some RES-E producers still receive feed-in tariff support depending on the terms of the contracts they signed previously.

## Slide 17: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Feed-in tariffs (since 2002)
Since 2005 the order on procurement and quantities of RES-E until 2010 to be supported by purchase prices
Tariffs with long-term (10 years) guarantee.
After this period RES-E should be supported by green certificate system. The planned implementation date was displaced from 2010 to 2021.

## Slide 18: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Programme supporting RES, including tax incentives and feed-in tariffs (since 2000)
Differentiated feed-in tariffs (since 2005)
There was no certainty on time frame and tariffs
The prices have been set so that a rate of return on the investment is 12 years

## Slide 19: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Feed-in tariffs (since 2004) with long term guaranteed contracts
The network operator and producer sign a Purchase Agreement for a period of 10 years.
Producers can choose between a fixed tariff or a premium tariff on top of the wholesale electricity price.

## Slide 20: Feed-in tariffs
Cyprus
Czech Republic
Estonia
Hungary
Latvia
Lithuania
Slovakia
Slovenia
Bulgaria
Key factor
Comments
Feed-in tariffs (since 2003) with long-term contracts
Tariffs are fixed until the introduction of the green certificates system
Purchase of RES-E with installed capacity up to 10 MW is obligatory for the distribution company

## Slide 21: Quota obligation
Poland
Romania
Renewable obligation, where minimum shares of renewables are imposed on suppliers or producers, together with penalties for non-compliance
Now used in 5 of EU-25 states
In line with requirements for market-conformity and competitive policies that provide strong incentive for short-term technology cost reductions

## Slide 22: Quota obligation
Poland
Romania
Key factor
Comments
Green power purchase obligation (since 2003) with target specified until 2010
In case of not complying, companies may pay a “compensation fee”.
If the obliged company neither buys RES-E nor pays a fee, an administrative fine may be imposed, which is at least 30% higher that fee.

## Slide 23: Quota obligation
Poland
Romania
Key factor
Comments
Green power quota obligation (since 2004) with target specified until 2010
TGCs are issued by the TSO
A minimum and maximum price for TGCs is determined annually by Energy Regulatory Authority
The supplier who fails to fulfill his quota has to pay the maximum price

## Slide 24: Fiscal incentives
Malta
Cyprus
Slovakia
Slovenia
Such us tax exemption of CO2, energy taxes, low interest loans
Now used in some EU countries in combination with other support schemes
Attractiveness – the direct message transmitted to final energy consumers about the added value of RE.
Shortcoming – they do not provide a long-term certainty about investments

## Slide 25: Level of support (2005)
Country | Level of support for wind, €/MWh
Czech Republic | 87.0
Estonia | 52.0
Hungary | 95.0
Lithuania | 63.7
Slovakia | 75.1
Slovenia | 61.0

## Slide 26: Market perception of support schemes in EU-10
Long-term framework
important element of creating a stable environment for investments
Preference for feed-in tariff
simple and transparent
long-term security for investors
- the introduction of more market based instruments are premature
Additional investment support
to stimulate new technologies and demonstration projects
disadvantage is that objectiveness of involved a decision making process can't by always guaranteed

## Slide 27: Main barriers in EU-10 (1)
Administrative
high number of involved authorities
lack of co-ordination between authorities
the length of procedure to obtain permits is long and uncertain
Grid
bottlenecks in the transmission grid
the procedure of grid connection is not fully transparent (such problems exist in countries with strong monopolies)
the length of procedure to obtain grid connection authorisation

## Slide 28: Main barriers in EU-10 (2)
Financial
lack of funding (lack of experience and low level of awareness with RES-E among bankers results into a relatively high reluctance towards RES-E investments)
low predictability of capital subsidies and cash flows (hard to predict what kind of support and how much support the investor can expect)
the support mechanisms are still relatively unattractive and uncertain
the market potential of RES hasn't been fully assessed yet
Social
low awareness of benefit of RES (clear example relates to environmental impact assessment)
opposition from local public

## Slide 29
Thank you for your attention!
Inga Konstantinaviciute
Lithuanian Energy Institute
inga@mail.lei.lt